Avviso Pubblico

(AP18_11)

Servizio di manutenzione hardware e software e servizi correlati del Backbone WI-PIE

Allegato T – Elementi oggetto del servizio di manutenzione

Indice generale

Apparati del backbone ottico DWDM							2

Apparati del backbone MPLS 								3

# Apparati del backbone ottico DWDM

| Codice | Descrizione | Q.tà |
| --- | --- | --- |
| 15454-PP-64-LC= | Patch Panel Shelf - 64 Connectors - LC/UPC | 16 |
| 15454E-SA-ETSI= | ONS 15454 SDH ETSI Chassis and Ship-Kit | 18 |
| 15454E-CTP-MIC48V | ONS15454SDH Craft,Timing,-48V PwrMgmt IF Conn | 18 |
| 15454E-AP-MIC48V | ONS15454SDH Alarm,-48V PwrMgmt IF Conn | 18 |
| 15454E-TCC2P-K9= | Timing Communications Control Two Plus, I-Temp | 36 |
| 15454E-FTA-48V= | ONS 15454 SDH 48V Fan Tray with filter for ETSI Chassis | 13 |
| 15216-DCU-100= | DCF of -100 ps/nm | 14 |
| 15216-DCU-350= | DCF of -350 ps/nm | 3 |
| 15216-DCU-450= | DCF of -450 ps/nm | 2 |
| 15216-DCU-950= | DCF of -950 ps/nm | 4 |
| 15454-OSCM= | ONS 15454 Optical Service Channel Module | 16 |
| 15454-OPT-PRE= | ONS 15454 Optical Pre-Amplifier Module | 22 |
| 15454-OPT-BST= | ONS 15454 Optical Booster Amplifier Module | 20 |
| 15454-32-DMX= | 32 Ch DMUX 100 GHz (for use with 32.WSS) | 16 |
| 15454-32-WSS= | 32 Ch Wavelength Selective Switch | 16 |
| 15454-10E-L1-C= | 15454 10G Multi-Rate Transponder- EFEC- Full C-Band Tunable | 24 |
| ONS-XC-10G-S1= | XFP - OC192/STM64/10GE - 1310 SR - SM LC | 24 |
| 15454E-PWRCBL-010= | 10Meter, 8 AWG, 3 conductor, Single Ended Power Cable | 36 |
| 15216-FLA-8-60.6= | ITU-100 GHz 8-Ch, FlexMod-1560.61 to 1554.13 | 16 |
| CSCO-SM-PWR-SA | CSCO AC/DC Pwr Sys Shelf, includes Controller Module and GMT | 12 |
| CSCO-PWR-RECT | CSCO 110 VAC/ 13.3A, 220VAC/32A Plug-in Rectifier Module | 24 |
| CSCO-EXP-PANEL | CSCO Pwr Sys Exp Pnl for 30A Brk. with 2 CKT BRK in A1, B1 | 10 |
| CSCO-SHP-KIT-2 | CSCO 3 sets MNT BRKT for Expansion Panel | 10 |
| CSCO-CKT-BRK | CSCO 1ea 30A Circuit Breakers, Includes install doc. | 6 |
| ONS-XC-10G-54.1= | XFP - OC-192/STM64/10GE, 1554.13, 100 GHz, LC | 10 |
| ONS-SE-G2F-LX= | SFP - GE/1G-FC/2G-FC/HDTV - 1310nm - SM - LC | 40 |
| 15454-GE-XP= | Ethernet 20-GE / 2-10GE Crossponder | 5 |
| 15454E-CC-FTA= | 48V Controlled Cooling Fan Tray with filter for ETSI Chassis | 5 |
| 15454E-AIR-RAMP | ONS 15454 SDH Air Ramp comes with ETSI Rack Brackets | 35 |
| 15216-LC-SC-5 | Fiber patchcord - LC to SC - 4m | 48 |
| 15454-LC-LC-2 | Fiber patchcord - LC to LC - 2m | 42 |
| 15216-FL-SA | FlexLayer 4 Slot Shelf Assembly | 9 |
| CSCO-PWR-CBL-ITL | CSCO AC cable for 110 Italy | 40 |
| Attenuatori 7dB | Attenuatori per protezione Buster 7dB | 6 |

# Apparati del backbone MPLS

NODO MPLS DI TORINO – SEDE CSI – 2 CATALYST 6509

Apparato 1:

Sw-Ce-To1     Product Number WS-C6509-E	Serial	Number	=         SMC11290047

Sw-Ce-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1121F485

Sw-Ce-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1121F492

Sw-Ce-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1123J981

Sw-Ce-To1	Product Number CLK-7600		Serial	Number	=	SMT1120K997

Sw-Ce-To1	Product Number WS-C6509-E-FAN	Serial	Number	=	DCH11300768

Sw-Ce-To1	Product Number WS-SUP720-3B	Serial	Number	=	SAL1129UWYD

Sw-Ce-To1	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1129UTBK

Sw-Ce-To1	Product Number WS-SUP720	Serial	Number	=	SAL1129UZGQ

Sw-Ce-To1	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7C

Sw-Ce-To1	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A79

Sw-Ce-To1	Product Number WS-X6408A-GBIC Serial	Number	=         SAL1130VXGS

Sw-Ce-To1	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8PN

Sw-Ce-To1	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TW7J

Sw-Ce-To1	Product Number WS-SVC-FWM-1	Serial	Number	=	SAD112600UA

Sw-Ce-To1	Product Number WS-SVC-FWM-1	Serial	Number	=	SAD114001MM

Sw-Ce-To1    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902MJ

Sw-Ce-To1    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902SM

Sw-Ce-To1    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902TV

Apparato 2:

Sw-Ce-To2	Product Number WS-C6509-E	Serial	Number	=	SMC1129004A

Sw-Ce-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1123J976

Sw-Ce-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1121F493

Sw-Ce-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1121F488

Sw-Ce-To2	Product Number CLK-7600		Serial	Number	=	SMT1123E498

Sw-Ce-To2	Product Number WS-C6509-E-FAN	Serial	Number	=	DCH11293316

Sw-Ce-To2	Product Number WS-SUP720-3B	Serial	Number	=	SAL1131WHZW

Sw-Ce-To2	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1130VH81

Sw-Ce-To2	Product Number WS-SUP720	Serial	Number	=	SAL1131WJTH

Sw-Ce-To2	Product Number WS-CAC-3000W	Serial	Number	=	AZS11220AHA

Sw-Ce-To2	Product Number WS-X6408A-GBIC Serial	Number	=          SAL1128UMNE

Sw-Ce-To2	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1128U85Y

Sw-Ce-To2	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TSJU

Sw-Ce-To2	Product Number WS-SVC-FWM-1	Serial	Number	=	SAD1129031G

Sw-Ce-To2	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7F

Sw-Ce-To2	Product Number WS-SVC-FWM-1	Serial	Number	=	SAD0944059N

Sw-Ce-To2    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902TY

Sw-Ce-To2    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902NQ

Sw-Ce-To2    Product Number  XENPAK-10GB-SR Serial Number         =          ONT112902PF

NOTA:

Sulle schede firewall sono presenti  200 contesti firewall distribuiti sulle 4 schede di Torino (4 blocchi da 50; FR-SVC-FWM-VC-T2 x 2 + FR-SVC-FWM-VC-T2 x 2.

NODO MPLS DI ALESSANDRIA – 1 CATALYST 6506E

Sw-Pe-Al	Product Number WS-C6506-E	Serial	Number	=	SAL1124RFEY

Sw-Pe-Al	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B605

Sw-Pe-Al	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B599

Sw-Pe-Al	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B596

Sw-Pe-Al	Product Number CLK-7600		Serial	Number	=	SMT1112F588

Sw-Pe-Al	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11110248

Sw-Pe-Al	Product Number WS-SUP720-3B	Serial	Number	=	SAL1132WU7P

Sw-Pe-Al	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1131WLGQ

Sw-Pe-Al	Product Number WS-SUP720	Serial	Number	=	SAL1131WJUA

Sw-Pe-Al	Product Number WS-CAC-3000W	Serial	Number	=	AZS11220AHK

Sw-Pe-Al	Product Number WS-CAC-3000W	Serial	Number	=	AZS11220AHJ

Sw-Pe-Al	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VTTA

Sw-Pe-Al	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131WA3F

NODO MPLS DI ASTI – 1 CATALYST 6506E

Sw-Pe-At	Product Number WS-C6506-E	Serial	Number	=	SAL1132XCA3

Sw-Pe-At	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124D068

Sw-Pe-At	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124D069

Sw-Pe-At	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124C663

Sw-Pe-At	Product Number CLK-7600		Serial	Number	=	SMT1120K785

Sw-Pe-At	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11172141

Sw-Pe-At	Product Number WS-SUP720-3B	Serial	Number	=	SAL1131WPDC

Sw-Pe-At	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1131WFPY

Sw-Pe-At	Product Number WS-SUP720	Serial	Number	=	SAL1131WJX9

Sw-Pe-At	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A87

Sw-Pe-At	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7W

Sw-Pe-At	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VYC2

Sw-Pe-At	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131W6X5

Sw-Pe-At	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8TM

Sw-Pe-At	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TWBH

NODO MPLS DI BIELLA – 1 CATALYST 6506E

Sw-Pe-Bi	Product Number WS-C6506-E	Serial	Number	=	SAL1132XC9Q

Sw-Pe-Bi	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B041

Sw-Pe-Bi	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B040

Sw-Pe-Bi	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B036

Sw-Pe-Bi	Product Number CLK-7600		Serial	Number	=	SMT1120K829

Sw-Pe-Bi	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11172139

Sw-Pe-Bi	Product Number WS-SUP720-3B	Serial	Number	=	SAL1132X15F

Sw-Pe-Bi	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1132X5R9

Sw-Pe-Bi	Product Number WS-SUP720	Serial	Number	=	SAL1132X1LG

Sw-Pe-Bi	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BCW

Sw-Pe-Bi	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BD0

Sw-Pe-Bi	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V3PE

Sw-Pe-Bi	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131WA3V

NODO MPLS DI CUNEO – 1 CATALYST 6506E

Sw-Pe-Cn	Product Number WS-C6506-E	Serial	Number	=	SAL1132XC9T

Sw-Pe-Cn	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B043

Sw-Pe-Cn	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B039

Sw-Pe-Cn	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B050

Sw-Pe-Cn	Product Number CLK-7600		Serial	Number	=	SMT1121J825

Sw-Pe-Cn	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11171752

Sw-Pe-Cn	Product Number WS-SUP720-3B	Serial	Number	=	SAL1131WQB6

Sw-Pe-Cn	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1131WFH0

Sw-Pe-Cn	Product Number WS-SUP720	Serial	Number	=	SAL1131WJPU

Sw-Pe-Cn	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BD9

Sw-Pe-Cn	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BDC

Sw-Pe-Cn	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VTU5

Sw-Pe-Cn	Product Number WS-X6724-SFP	Serial	Number	=	SAL1126SFCJ

Sw-Pe-Cn	Product Number WS-F6700-CFC	Serial	Number	=	SAL1131WAVX

Sw-Pe-Cn	Product Number WS-X6704-10GE	Serial	Number	=	SAD112904FJ

NODO MPLS DI NOVARA – 1 CATALYST 6506E

Sw-Pe-No	Product Number WS-C6506-E	Serial	Number	=	SAL1132X0F8

Sw-Pe-No	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B264

Sw-Pe-No	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B266

Sw-Pe-No	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B244

Sw-Pe-No	Product Number CLK-7600		Serial	Number	=	SMT1123F125

Sw-Pe-No	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11171760

Sw-Pe-No	Product Number WS-SUP720-3B	Serial	Number	=	SAL1131WPDM

Sw-Pe-No	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1131WLFT

Sw-Pe-No	Product Number WS-SUP720	Serial	Number	=	SAL1132WUTP

Sw-Pe-No	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7N

Sw-Pe-No	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A78

Sw-Pe-No	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VTTF

Sw-Pe-No	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131WA5A

NODO MPLS DI TORINO – 2 CATALYST 6506E

Apparato 1:

Sw-Pe-To1	Product Number WS-C6506-E	Serial	Number	=	SAL1132XC6R

Sw-Pe-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124A855

Sw-Pe-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124C161

Sw-Pe-To1	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124A833

Sw-Pe-To1	Product Number CLK-7600		Serial	Number	=	SMT1121J268

Sw-Pe-To1	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11172220

Sw-Pe-To1	Product Number WS-SUP720-3B	Serial	Number	=	SAL1131W8QF

Sw-Pe-To1	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1131W2MH

Sw-Pe-To1	Product Number WS-SUP720	Serial	Number	=	SAL1131W50S

Sw-Pe-To1	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A75

Sw-Pe-To1	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7A

Sw-Pe-To1	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VYFY

Sw-Pe-To1	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131W1UE

Sw-Pe-To1	Product Number WS-X6348-RJ-45	Serial	Number	=	SAL06261U1N

Sw-Pe-To1	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8RW

Sw-Pe-To1	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TQF5

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         ONT153302GJ

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         ONT112902G5

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         N.A.

Apparato 2:

Sw-Pe-To2	Product Number WS-C6506-E	Serial	Number	=	SAL1124RFEV

Sw-Pe-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B550

Sw-Pe-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B546

Sw-Pe-To2	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1118B542

Sw-Pe-To2	Product Number CLK-7600		Serial	Number	=	SMT1118E413

Sw-Pe-To2	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11110034

Sw-Pe-To2	Product Number WS-SUP720-3B	Serial	Number	=	SAL1129UWQK

Sw-Pe-To2	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1129UTME

Sw-Pe-To2	Product Number WS-SUP720	Serial	Number	=	SAL1128UQRR

Sw-Pe-To2	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7G

Sw-Pe-To2	Product Number WS-CAC-3000W	Serial	Number	=	AZS11220AEA

Sw-Pe-To2	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1130VTRP

Sw-Pe-To2	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131W1S9

Sw-Pe-To2	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8SH

Sw-Pe-To2	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TW8X

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         ONT112902EJ

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         ONT112902TE

Sw-Pe-To1     Product Number  XENPAK-10GB-SR Serial Number         =         N.A.

NODO MPLS DI VERBANIA – 1 CATALYST 6506E

Sw-Pe-Vb	Product Number WS-C6506-E	Serial	Number	=	SAL1132XC9P

Sw-Pe-Vb	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B048

Sw-Pe-Vb	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124D119

Sw-Pe-Vb	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B049

Sw-Pe-Vb	Product Number CLK-7600		Serial	Number	=	SMT1120K823

Sw-Pe-Vb	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11171762

Sw-Pe-Vb	Product Number WS-SUP720-3B	Serial	Number	=	SAL1132WUKQ

Sw-Pe-Vb	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL1132WVRA

Sw-Pe-Vb	Product Number WS-SUP720	Serial	Number	=	SAL1132X1P6

Sw-Pe-Vb	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BD3

Sw-Pe-Vb	Product Number WS-CAC-3000W	Serial	Number	=	AZS11240BDB

Sw-Pe-Vb	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8S2

Sw-Pe-Vb	Product Number WS-X6724-SFP	Serial	Number	=	SAL1126SBE5

NODO MPLS DI VERCELLI – 2 CATALYST 6506E

Apparato 1:

Sw-Pe-Vc	Product Number WS-C6506-E	Serial	Number	=	SAL1132XCA4

Sw-Pe-Vc	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124C664

Sw-Pe-Vc	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124D066

Sw-Pe-Vc	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124D059

Sw-Pe-Vc	Product Number CLK-7600		Serial	Number	=	SMT1120K916

Sw-Pe-Vc	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11172407

Sw-Pe-Vc	Product Number WS-SUP720-3B	Serial	Number	=	SAL10403R4H

Sw-Pe-Vc	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL10403CX1

Sw-Pe-Vc	Product Number WS-SUP720	Serial	Number	=	SAL10403PB4

Sw-Pe-Vc	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7L

Sw-Pe-Vc	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A77

Sw-Pe-Vc	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V3KF

Sw-Pe-Vc	Product Number WS-X6724-SFP	Serial	Number	=	SAL1130VF3M

Sw-Pe-Vc	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL1129V8QS

Sw-Pe-Vc	Product Number WS-X6704-10GE	Serial	Number	=	SAL1127TWAS.

Sw-Pe-Vc      Product Number  XENPAK-10GB-SR Serial Number          =           ONT1130003Q

Sw-Pe-Vc      Product Number  XENPAK-10GB-SR Serial Number          =           ONT1129025F

Apparato 2:

SW-CE-VC	Product Number WS-SUP720-3B	Serial	Number	=	SAL145023TJ

SW-CE-VC	Product Number WS-F6K-PFC3B	Serial	Number	=	SAL14491NHX

SW-CE-VC	Product Number WS-C6506-E	Serial	Number	=	SAL14512KY1

SW-CE-VC	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1438E482

SW-CE-VC	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1438E518

SW-CE-VC	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1438E480

SW-CE-VC	Product Number CLK-7600		Serial	Number	=	SMT1436G910

SW-CE-VC	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH14450044

SW-CE-VC	Product Number WS-CAC-3000W	Serial	Number	=	AZS14470AKF

SW-CE-VC	Product Number WS-CAC-3000W	Serial	Number	=	AZS14470AK2

SW-CE-VC	Product Number WS-SVC-FWM-1	Serial	Number	=	SAL14481747

SW-CE-VC	Product Number WS-SUP720	Serial	Number	=	SAL145025HN

SW-CE-VC	Product Number WS-SVC-FWM-1	Serial	Number	=	SAL1448174Y

SW-CE-VC	Product Number WS-F6700-DFC3B	Serial	Number	=	SAD09050423

SW-CE-VC	Product Number WS-X6704-10GE	Serial	Number	=	SAL1417GQ5V

SW-CE-VC	Product Number WS-F6700-DFC3B	Serial	Number	=	SAL114247D0

SW-CE-VC	Product Number WS-X6724-SFP	Serial	Number	=	SAL1416FQFU

SW-CE-VC   Product Number WS-X6708-10G-3C-RF Serial Number     =          SAL1231YZ47

SW-CE-VC  Product Number  WS-F6700-DFC3C    Serial Number           =          SAL1231Z2QK

SW-CE-VC  Product Number  XENPAK-10GB-SR  Serial Number           =         FNS14261WQY

SW-CE-VC  Product Number  XENPAK-10GB-SR  Serial Number           =         FNS14390006

Sulle schede firewall sono presenti  100 contesti firewall distribuiti sulle 2schede di Vercelli (50 per ogni card).

Switch Internet CSI – 6506-E (sede centrale, c.so Unione Sovietica 216, To):

CSI-GTW3	Product Number WS-C6506-E	Serial	Number	=	SAL1132X0F9

CSI-GTW3     Product Number WS-SUP720-3B     Serial	Number          =          SAL1131WDD6

CSI-GTW3	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B104

CSI-GTW3	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B109

CSI-GTW3	Product Number WS-C6K-VTT-E	Serial	Number	=	SMT1124B107

CSI-GTW3	Product Number CLK-7600		Serial	Number	=	SMT1123F412

CSI-GTW3	Product Number WS-C6506-E-FAN	Serial	Number	=	DCH11172156

CSI-GTW3	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A7D

CSI-GTW3	Product Number WS-CAC-3000W	Serial	Number	=	AZS11250A76

CSI-GTW3	Product Number WS-SUP720	Serial	Number	=	SAL1328TKU1

CSI-GTW3	Product Number WS-F6700-CFC	Serial	Number	=	SAL10478EG0

CSI-GTW3	Product Number WS-X6724-SFP	Serial	Number	=	SAL1131W3Z4